## Code Matrix
Jurisdiction | Region | IBC | IRC | IFC | UPC | UMC | NEC | Spec Entries
City of Reno | Northern Nevada | 2024 | 2024 |  | 2024 |  | 2023 | 0
City of Sparks | Northern Nevada | [6 empty] | 0
Washoe County | Northern Nevada | 2024 | 2024 |  | 2024 |  | 2023 | 0
City of Henderson | Southern Nevada | 2024 | 2024 | 2024 | 2024 | 2024 | 2023 | 43
City of Las Vegas | Southern Nevada | 2024 | 2024 | 2024 | 2024 |  | 2023 | 39
City of Mesquite | Southern Nevada | [6 empty] | 0
City of North Las Vegas | Southern Nevada | 2024 | 2024 | 2024 | 2024 | 2024 | 2023 | 11
Clark County | Southern Nevada | 2024 | 2024 | 2024 | 2024 |  |  | 0
Town of Pahrump | Southern Nevada | [6 empty] | 0

## Adopted Codes
Jurisdiction | Region | Code Type | Edition Year | Adoption Date | Amendment Notes | Current
City of Henderson | Southern Nevada | IBC | 2024 | 2026-01-02 | 2024 IBC with Southern Nevada Amendments (Clark County Amended) | Yes
City of Henderson | Southern Nevada | IBC | 2006 | 2007-05-01 | Regional SNBO adoption — Ord. not confirmed [DATE ESTIMATED — verify with jurisdiction] | No
City of Henderson | Southern Nevada | IBC | 2009 | 2011-07-05 | Regional SNBO adoption — Ord. not confirmed [DATE ESTIMATED — verify with jurisdiction] | No
City of Henderson | Southern Nevada | IBC | 2012 | 2014-09-01 | Regional SNBO adoption — Ord. not confirmed [DATE ESTIMATED — verify with jurisdiction] | No
City of Henderson | Southern Nevada | IBC | 2018 | 2019-02-04 | Ord. 3509 | No
City of Henderson | Southern Nevada | IBC | 2021 | 2023-03-23 | Joint Henderson/Las Vegas 2021 IBC adoption — amendments dated Jul 18 2022 | No
City of Henderson | Southern Nevada | IECC | 2006 | 2007-05-01 | Regional SNBO adoption — Ord. not confirmed [DATE ESTIMATED — verify with jurisdiction] | No
City of Henderson | Southern Nevada | IECC | 2009 | 2011-07-05 | Regional SNBO adoption — Ord. not confirmed [DATE ESTIMATED — verify with jurisdiction] | No
City of Henderson | Southern Nevada | IECC | 2012 | 2014-09-01 | Regional SNBO adoption — Ord. not confirmed [DATE ESTIMATED — verify with jurisdiction] | No
City of Henderson | Southern Nevada | IECC | 2018 | 2019-02-04 | Ord. 3509 companion | No
City of Henderson | Southern Nevada | IFC | 2024 | 2026-01-02 | 2024 IFC with Southern Nevada Amendments | Yes
City of Henderson | Southern Nevada | IFC | 2009 | 2011-01-05 | Regional SNBO adoption — Ord. not confirmed [DATE ESTIMATED — verify with jurisdiction] | No
City of Henderson | Southern Nevada | IFC | 2012 | 2014-07-10 | Regional SNBO adoption — Ord. not confirmed [DATE ESTIMATED — verify with jurisdiction] | No
City of Henderson | Southern Nevada | IFC | 2018 | 2019-02-04 | Ord. 3510 | No
City of Henderson | Southern Nevada | IRC | 2024 | 2026-01-02 | 2024 IRC with Southern Nevada Amendments (Clark County Amended) | Yes
City of Henderson | Southern Nevada | IRC | 2006 | 2007-05-01 | Regional SNBO adoption — Ord. not confirmed [DATE ESTIMATED — verify with jurisdiction] | No
City of Henderson | Southern Nevada | IRC | 2009 | 2012-02-01 | Regional SNBO adoption — Ord. not confirmed [DATE ESTIMATED — verify with jurisdiction] | No
City of Henderson | Southern Nevada | IRC | 2012 | 2014-09-01 | Regional SNBO adoption — Ord. not confirmed [DATE ESTIMATED — verify with jurisdiction] | No
City of Henderson | Southern Nevada | IRC | 2018 | 2019-02-04 | Ord. 3509 | No
City of Henderson | Southern Nevada | NEC | 2023 | 2026-01-02 | 2023 NEC with Southern Nevada Amendments | Yes
City of Henderson | Southern Nevada | NEC | 2005 | 2007-05-01 | Regional SNBO adoption — Ord. not confirmed [DATE ESTIMATED — verify with jurisdiction] | No
City of Henderson | Southern Nevada | NEC | 2008 | 2011-07-05 | Regional SNBO adoption — Ord. not confirmed [DATE ESTIMATED — verify with jurisdiction] | No
City of Henderson | Southern Nevada | NEC | 2011 | 2014-09-01 | Regional SNBO adoption — Ord. not confirmed [DATE ESTIMATED — verify with jurisdiction] | No
City of Henderson | Southern Nevada | NEC | 2017 | 2019-02-04 | Ord. 3509 companion | No
City of Henderson | Southern Nevada | UMC | 2024 | 2026-01-02 | 2024 UMC with Southern Nevada Amendments | Yes
City of Henderson | Southern Nevada | UMC | 2006 | 2007-05-01 | Regional SNBO adoption — Ord. not confirmed [DATE ESTIMATED — verify with jurisdiction] | No
City of Henderson | Southern Nevada | UMC | 2009 | 2011-07-05 | Regional SNBO adoption — Ord. not confirmed [DATE ESTIMATED — verify with jurisdiction] | No
City of Henderson | Southern Nevada | UMC | 2012 | 2014-09-01 | Regional SNBO adoption — Ord. not confirmed [DATE ESTIMATED — verify with jurisdiction] | No
City of Henderson | Southern Nevada | UMC | 2018 | 2019-02-04 | Ord. 3509 companion | No
City of Henderson | Southern Nevada | UPC | 2024 | 2026-01-02 | 2024 UPC with Southern Nevada Amendments | Yes
City of Henderson | Southern Nevada | UPC | 2006 | 2007-05-01 | Regional SNBO adoption — Ord. not confirmed [DATE ESTIMATED — verify with jurisdiction] | No
City of Henderson | Southern Nevada | UPC | 2009 | 2011-07-05 | Regional SNBO adoption — Ord. not confirmed [DATE ESTIMATED — verify with jurisdiction] | No
City of Henderson | Southern Nevada | UPC | 2012 | 2014-09-01 | Regional SNBO adoption — Ord. not confirmed [DATE ESTIMATED — verify with jurisdiction] | No
City of Henderson | Southern Nevada | UPC | 2018 | 2019-02-04 | Ord. 3509 companion | No
City of Las Vegas | Southern Nevada | IBC | 2024 | 2026-01-01 | SNBO 2024 IBC/IRC/UPC/UMC/NEC/ISPSC/IECC amendments adopted via Ordinance 25-0086, effective Jan 5, 2026 | Yes
City of Las Vegas | Southern Nevada | IBC | 2006 | 2007-01-17 | Ord. 5883 | No
City of Las Vegas | Southern Nevada | IBC | 2009 | 2011-07-05 | Ord. 6139 — effective Jul 5 2011 | No
City of Las Vegas | Southern Nevada | IBC | 2012 | 2014-09-18 | Ord. 6350 | No
City of Las Vegas | Southern Nevada | IBC | 2018 | 2019-02-04 | Ord. 6632 | No
City of Las Vegas | Southern Nevada | IECC | 2006 | 2007-01-17 | Ord. 5882 | No
City of Las Vegas | Southern Nevada | IECC | 2009 | 2011-07-05 | Ord. 6144 | No
City of Las Vegas | Southern Nevada | IECC | 2012 | 2014-09-17 | Ord. 6350 series | No
City of Las Vegas | Southern Nevada | IECC | 2018 | 2019-02-04 | Ord. 6635 | No
City of Las Vegas | Southern Nevada | IFC | 2024 | 2026-01-01 | SNBO 2024 IBC/IRC/UPC/UMC/NEC/ISPSC/IECC amendments adopted via Ordinance 25-0086, effective Jan 5, 2026 | Yes
City of Las Vegas | Southern Nevada | IFC | 2009 | 2011-01-05 | Ord. 6124 — Las Vegas skipped 2006 IFC | No
City of Las Vegas | Southern Nevada | IFC | 2012 | 2014-07-10 | Ord. 6325 | No
City of Las Vegas | Southern Nevada | IFC | 2018 | 2019-02-04 | Ord. 6631 | No
City of Las Vegas | Southern Nevada | IRC | 2024 | 2026-01-01 | SNBO 2024 IBC/IRC/UPC/UMC/NEC/ISPSC/IECC amendments adopted via Ordinance 25-0086, effective Jan 5, 2026 | Yes
City of Las Vegas | Southern Nevada | IRC | 2006 | 2007-01-17 | Ord. 5883 | No
City of Las Vegas | Southern Nevada | IRC | 2009 | 2012-02-15 | Ord. 6176 | No
City of Las Vegas | Southern Nevada | IRC | 2012 | 2014-09-17 | Ord. 6351 | No
City of Las Vegas | Southern Nevada | IRC | 2018 | 2019-02-04 | Ord. 6633 | No
City of Las Vegas | Southern Nevada | NEC | 2023 |  | SNBO 2024 IBC/IRC/UPC/UMC/NEC/ISPSC/IECC amendments adopted via Ordinance 25-0086, effective Jan 5, 2026 | Yes
City of Las Vegas | Southern Nevada | NEC | 2005 | 2007-01-17 | Ord. 5878 | No
City of Las Vegas | Southern Nevada | NEC | 2008 | 2011-07-05 | Ord. 6143 | No
City of Las Vegas | Southern Nevada | NEC | 2011 | 2014-09-17 | Ord. 6356 | No
City of Las Vegas | Southern Nevada | NEC | 2017 | 2019-02-04 | Ord. 6639 | No
City of Las Vegas | Southern Nevada | UMC | 2006 | 2007-01-17 | Ord. 5880 | No
City of Las Vegas | Southern Nevada | UMC | 2009 | 2011-07-05 | Ord. 6142 | No
City of Las Vegas | Southern Nevada | UMC | 2012 | 2014-09-17 | Ord. 6354 | No
City of Las Vegas | Southern Nevada | UMC | 2018 | 2019-02-04 | Ord. 6637 | No
City of Las Vegas | Southern Nevada | UPC | 2024 |  | SNBO 2024 IBC/IRC/UPC/UMC/NEC/ISPSC/IECC amendments adopted via Ordinance 25-0086, effective Jan 5, 2026 | Yes
City of Las Vegas | Southern Nevada | UPC | 2006 | 2007-01-17 | Ord. 5881 | No
City of Las Vegas | Southern Nevada | UPC | 2009 | 2011-07-05 | Ord. 6141 | No
City of Las Vegas | Southern Nevada | UPC | 2012 | 2014-09-17 | Ord. 6355 | No
City of Las Vegas | Southern Nevada | UPC | 2018 | 2019-02-04 | Ord. 6638 | No
City of North Las Vegas | Southern Nevada | IBC | 2024 | 2026-01-11 | 2024 IBC with Southern Nevada Amendments | Yes
City of North Las Vegas | Southern Nevada | IBC | 2006 | 2007-05-01 | Regional SNBO adoption — Ord. not confirmed [DATE ESTIMATED — verify with jurisdiction] | No
City of North Las Vegas | Southern Nevada | IBC | 2009 | 2011-07-05 | Regional SNBO adoption — Ord. not confirmed [DATE ESTIMATED — verify with jurisdiction] | No
City of North Las Vegas | Southern Nevada | IBC | 2012 | 2014-07-01 | Regional SNBO adoption — Ord. not confirmed [DATE ESTIMATED — verify with jurisdiction] | No
City of North Las Vegas | Southern Nevada | IBC | 2018 | 2019-02-04 | Ord. 2910 | No
City of North Las Vegas | Southern Nevada | IECC | 2006 | 2007-05-01 | Regional SNBO adoption — Ord. not confirmed [DATE ESTIMATED — verify with jurisdiction] | No
City of North Las Vegas | Southern Nevada | IECC | 2009 | 2011-07-05 | Regional SNBO adoption — Ord. not confirmed [DATE ESTIMATED — verify with jurisdiction] | No
City of North Las Vegas | Southern Nevada | IECC | 2012 | 2014-07-01 | Regional SNBO adoption — Ord. not confirmed [DATE ESTIMATED — verify with jurisdiction] | No
City of North Las Vegas | Southern Nevada | IECC | 2018 | 2019-02-04 | Ord. 2899 | No
City of North Las Vegas | Southern Nevada | IFC | 2024 | 2026-01-11 | 2024 IFC with Southern Nevada Amendments | Yes
City of North Las Vegas | Southern Nevada | IFC | 2009 | 2011-01-05 | Regional SNBO adoption — Ord. not confirmed [DATE ESTIMATED — verify with jurisdiction] | No
City of North Las Vegas | Southern Nevada | IFC | 2012 | 2014-07-01 | Regional SNBO adoption — Ord. not confirmed [DATE ESTIMATED — verify with jurisdiction] | No
City of North Las Vegas | Southern Nevada | IFC | 2018 | 2019-02-04 | Ord. 2906 | No
City of North Las Vegas | Southern Nevada | IRC | 2024 | 2026-01-11 | 2024 IRC with Southern Nevada Amendments | Yes
City of North Las Vegas | Southern Nevada | IRC | 2006 | 2007-05-01 | Regional SNBO adoption — Ord. not confirmed [DATE ESTIMATED — verify with jurisdiction] | No
City of North Las Vegas | Southern Nevada | IRC | 2009 | 2012-02-01 | Regional SNBO adoption — Ord. not confirmed [DATE ESTIMATED — verify with jurisdiction] | No
City of North Las Vegas | Southern Nevada | IRC | 2012 | 2014-07-01 | Regional SNBO adoption — Ord. not confirmed [DATE ESTIMATED — verify with jurisdiction] | No
City of North Las Vegas | Southern Nevada | IRC | 2018 | 2019-02-04 | Ord. 2892 | No
City of North Las Vegas | Southern Nevada | NEC | 2023 | 2026-01-11 | 2023 NEC with Southern Nevada Amendments | Yes
City of North Las Vegas | Southern Nevada | NEC | 2005 | 2007-05-01 | Regional SNBO adoption — Ord. not confirmed [DATE ESTIMATED — verify with jurisdiction] | No
City of North Las Vegas | Southern Nevada | NEC | 2008 | 2011-07-05 | Regional SNBO adoption — Ord. not confirmed [DATE ESTIMATED — verify with jurisdiction] | No
City of North Las Vegas | Southern Nevada | NEC | 2011 | 2014-07-01 | Regional SNBO adoption — Ord. not confirmed [DATE ESTIMATED — verify with jurisdiction] | No
City of North Las Vegas | Southern Nevada | NEC | 2017 | 2019-02-04 | Ord. 2911 | No
City of North Las Vegas | Southern Nevada | UMC | 2024 | 2026-01-11 | 2024 UMC with Southern Nevada Amendments | Yes
City of North Las Vegas | Southern Nevada | UMC | 2006 | 2007-05-01 | Regional SNBO adoption — Ord. not confirmed [DATE ESTIMATED — verify with jurisdiction] | No
City of North Las Vegas | Southern Nevada | UMC | 2009 | 2011-07-05 | Regional SNBO adoption — Ord. not confirmed [DATE ESTIMATED — verify with jurisdiction] | No
City of North Las Vegas | Southern Nevada | UMC | 2012 | 2014-07-01 | Regional SNBO adoption — Ord. not confirmed [DATE ESTIMATED — verify with jurisdiction] | No
City of North Las Vegas | Southern Nevada | UMC | 2018 | 2019-02-04 | Regional SNBO adoption | No
City of North Las Vegas | Southern Nevada | UPC | 2024 | 2026-01-11 | 2024 UPC with Southern Nevada Amendments | Yes
City of North Las Vegas | Southern Nevada | UPC | 2006 | 2007-05-01 | Regional SNBO adoption — Ord. not confirmed [DATE ESTIMATED — verify with jurisdiction] | No
City of North Las Vegas | Southern Nevada | UPC | 2009 | 2011-07-05 | Regional SNBO adoption — Ord. not confirmed [DATE ESTIMATED — verify with jurisdiction] | No
City of North Las Vegas | Southern Nevada | UPC | 2012 | 2014-07-01 | Regional SNBO adoption — Ord. not confirmed [DATE ESTIMATED — verify with jurisdiction] | No
City of North Las Vegas | Southern Nevada | UPC | 2018 | 2019-02-04 | Regional SNBO adoption | No
City of Reno | Northern Nevada | IBC | 2024 | 2026-01-01 | Northern NV Amendments effective 1/1/26 | Yes
City of Reno | Northern Nevada | IBC | 2006 | 2008-03-10 | Regional Northern NV adoption — Ord. not confirmed [DATE ESTIMATED — verify with jurisdiction] | No
City of Reno | Northern Nevada | IBC | 2012 | 2013-09-01 | Regional Northern NV adoption — Ord. not confirmed [DATE ESTIMATED — verify with jurisdiction] | No
City of Reno | Northern Nevada | IBC | 2018 | 2019-07-01 | Confirmed: Jul 1 2019 regional effective date | No
City of Reno | Northern Nevada | IECC | 2006 | 2008-03-10 | Regional Northern NV adoption — Ord. not confirmed [DATE ESTIMATED — verify with jurisdiction] | No
City of Reno | Northern Nevada | IECC | 2009 | 2012-07-01 | Regional Northern NV adoption — Ord. not confirmed [DATE ESTIMATED — verify with jurisdiction] | No
City of Reno | Northern Nevada | IECC | 2012 | 2016-07-01 | Confirmed: 2012 IECC effective Jul 2016 per BCAP | No
City of Reno | Northern Nevada | IECC | 2018 | 2019-07-01 | Confirmed: Jul 1 2019 regional effective date | No
City of Reno | Northern Nevada | IRC | 2024 | 2026-01-01 | Northern NV Amendments effective 1/1/26 | Yes
City of Reno | Northern Nevada | IRC | 2006 | 2008-03-10 | Regional Northern NV adoption — Ord. not confirmed [DATE ESTIMATED — verify with jurisdiction] | No
City of Reno | Northern Nevada | IRC | 2012 | 2013-09-01 | Regional Northern NV adoption — Ord. not confirmed [DATE ESTIMATED — verify with jurisdiction] | No
City of Reno | Northern Nevada | IRC | 2018 | 2019-07-01 | Confirmed: Jul 1 2019 regional effective date | No
City of Reno | Northern Nevada | NEC | 2023 |  | 2023 NEC adopted | Yes
City of Reno | Northern Nevada | NEC | 2005 | 2008-03-10 | Regional Northern NV adoption — Ord. not confirmed [DATE ESTIMATED — verify with jurisdiction] | No
City of Reno | Northern Nevada | NEC | 2011 | 2013-09-01 | Regional Northern NV adoption — Ord. not confirmed [DATE ESTIMATED — verify with jurisdiction] | No
City of Reno | Northern Nevada | NEC | 2017 | 2019-07-01 | Confirmed: Jul 1 2019 regional effective date | No
City of Reno | Northern Nevada | UMC | 2006 | 2008-03-10 | Regional Northern NV adoption — Ord. not confirmed [DATE ESTIMATED — verify with jurisdiction] | No
City of Reno | Northern Nevada | UMC | 2012 | 2013-09-01 | Regional Northern NV adoption — Ord. not confirmed [DATE ESTIMATED — verify with jurisdiction] | No
City of Reno | Northern Nevada | UMC | 2018 | 2019-07-01 | Confirmed: Jul 1 2019 regional effective date | No
City of Reno | Northern Nevada | UPC | 2024 |  | 2024 UMC/UPC adopted | Yes
City of Reno | Northern Nevada | UPC | 2006 | 2008-03-10 | Regional Northern NV adoption — Ord. not confirmed [DATE ESTIMATED — verify with jurisdiction] | No
City of Reno | Northern Nevada | UPC | 2012 | 2013-09-01 | Regional Northern NV adoption — Ord. not confirmed [DATE ESTIMATED — verify with jurisdiction] | No
City of Reno | Northern Nevada | UPC | 2018 | 2019-07-01 | Confirmed: Jul 1 2019 regional effective date | No
City of Sparks | Northern Nevada | IBC | 2006 | 2008-03-10 | Regional Northern NV adoption — Ord. not confirmed [DATE ESTIMATED — verify with jurisdiction] | No
City of Sparks | Northern Nevada | IBC | 2012 | 2013-09-01 | Regional Northern NV adoption — Ord. not confirmed [DATE ESTIMATED — verify with jurisdiction] | No
City of Sparks | Northern Nevada | IBC | 2018 | 2019-07-01 | Confirmed: Jul 1 2019 regional effective date | No
City of Sparks | Northern Nevada | IECC | 2006 | 2008-03-10 | Regional Northern NV adoption — Ord. not confirmed [DATE ESTIMATED — verify with jurisdiction] | No
City of Sparks | Northern Nevada | IECC | 2009 | 2012-07-01 | Regional Northern NV adoption — Ord. not confirmed [DATE ESTIMATED — verify with jurisdiction] | No
City of Sparks | Northern Nevada | IECC | 2012 | 2016-07-01 | Regional Northern NV adoption — Ord. not confirmed [DATE ESTIMATED — verify with jurisdiction] | No
City of Sparks | Northern Nevada | IECC | 2018 | 2019-07-01 | Confirmed: Jul 1 2019 regional effective date | No
City of Sparks | Northern Nevada | IFC | 2018 | 2019-07-01 | Confirmed: Sparks adopted IFC in 2018 cycle | No
City of Sparks | Northern Nevada | IRC | 2006 | 2008-03-10 | Regional Northern NV adoption — Ord. not confirmed [DATE ESTIMATED — verify with jurisdiction] | No
City of Sparks | Northern Nevada | IRC | 2012 | 2013-09-01 | Regional Northern NV adoption — Ord. not confirmed [DATE ESTIMATED — verify with jurisdiction] | No
City of Sparks | Northern Nevada | IRC | 2018 | 2019-07-01 | Confirmed: Jul 1 2019 regional effective date | No
City of Sparks | Northern Nevada | NEC | 2005 | 2008-03-10 | Regional Northern NV adoption — Ord. not confirmed [DATE ESTIMATED — verify with jurisdiction] | No
City of Sparks | Northern Nevada | NEC | 2011 | 2013-09-01 | Regional Northern NV adoption — Ord. not confirmed [DATE ESTIMATED — verify with jurisdiction] | No
City of Sparks | Northern Nevada | NEC | 2017 | 2019-07-01 | Confirmed: Jul 1 2019 regional effective date | No
City of Sparks | Northern Nevada | UMC | 2006 | 2008-03-10 | Regional Northern NV adoption — Ord. not confirmed [DATE ESTIMATED — verify with jurisdiction] | No
City of Sparks | Northern Nevada | UMC | 2012 | 2013-09-01 | Regional Northern NV adoption — Ord. not confirmed [DATE ESTIMATED — verify with jurisdiction] | No
City of Sparks | Northern Nevada | UMC | 2018 | 2019-07-01 | Confirmed: Jul 1 2019 regional effective date | No
City of Sparks | Northern Nevada | UPC | 2006 | 2008-03-10 | Regional Northern NV adoption — Ord. not confirmed [DATE ESTIMATED — verify with jurisdiction] | No
City of Sparks | Northern Nevada | UPC | 2012 | 2013-09-01 | Regional Northern NV adoption — Ord. not confirmed [DATE ESTIMATED — verify with jurisdiction] | No
City of Sparks | Northern Nevada | UPC | 2018 | 2019-07-01 | Confirmed: Jul 1 2019 regional effective date | No
Clark County | Southern Nevada | IBC | 2024 | 2026-01-11 | Clark County Local Amendments | Yes
Clark County | Southern Nevada | IBC | 2006 | 2007-05-01 | Ord. 3488 | No
Clark County | Southern Nevada | IBC | 2009 | 2011-07-05 | Ord. 3893 | No
Clark County | Southern Nevada | IBC | 2012 | 2014-07-07 | Ord. 4118 | No
Clark County | Southern Nevada | IBC | 2018 | 2019-02-04 | Ord. 4605 | No
Clark County | Southern Nevada | IECC | 2006 | 2007-05-01 | Ord. 3493 | No
Clark County | Southern Nevada | IECC | 2009 | 2011-07-05 | Ord. 3897 | No
Clark County | Southern Nevada | IECC | 2012 | 2014-07-07 | Ord. 4116 | No
Clark County | Southern Nevada | IECC | 2018 | 2019-02-04 | Ord. 4607 | No
Clark County | Southern Nevada | IECC | 2021 | 2023-10-16 | Ord. 5034 — adopted standalone Oct 2023 | No
Clark County | Southern Nevada | IFC | 2024 |  | 2024 IFC adopted with 2024 IBC | Yes
Clark County | Southern Nevada | IFC | 2009 | 2011-07-05 | Ord. per fire dept PDF | No
Clark County | Southern Nevada | IFC | 2012 | 2014-07-07 | Ord. 4129 | No
Clark County | Southern Nevada | IFC | 2018 | 2019-02-06 | Ord. 4664 | No
Clark County | Southern Nevada | IRC | 2024 | 2026-01-11 | Clark County Local Amendments | Yes
Clark County | Southern Nevada | IRC | 2006 | 2007-05-01 | Ord. 3489 | No
Clark County | Southern Nevada | IRC | 2009 | 2010-11-16 | Ord. 3917 | No
Clark County | Southern Nevada | IRC | 2012 | 2014-07-07 | Ord. 4117 | No
Clark County | Southern Nevada | IRC | 2018 | 2019-02-04 | Ord. 4611 | No
Clark County | Southern Nevada | NEC | 2023 | 2023-10-16 | Ord. 5034 — adopted standalone Oct 2023 | No
Clark County | Southern Nevada | NEC | 2005 | 2007-05-01 | Ord. 3491 | No
Clark County | Southern Nevada | NEC | 2008 | 2011-07-05 | Ord. 3896 | No
Clark County | Southern Nevada | NEC | 2012 | 2014-07-07 | Ord. 4121 | No
Clark County | Southern Nevada | NEC | 2017 | 2019-02-04 | Ord. 4612 | No
Clark County | Southern Nevada | UMC | 2006 | 2007-05-01 | Ord. 3492 | No
Clark County | Southern Nevada | UMC | 2009 | 2011-07-05 | Ord. 3895 | No
Clark County | Southern Nevada | UMC | 2012 | 2014-07-07 | Ord. 4120 | No
Clark County | Southern Nevada | UMC | 2018 | 2019-02-04 | Ord. 4609 | No
Clark County | Southern Nevada | UPC | 2024 |  | 2024 UMC/UPC adopted | Yes
Clark County | Southern Nevada | UPC | 2006 | 2007-05-01 | Ord. 3490 | No
Clark County | Southern Nevada | UPC | 2009 | 2011-07-05 | Ord. 3894 | No
Clark County | Southern Nevada | UPC | 2012 | 2014-07-07 | Ord. 4119 | No
Clark County | Southern Nevada | UPC | 2018 | 2019-02-04 | Ord. 4610 | No
Washoe County | Northern Nevada | IBC | 2024 | 2026-01-01 | Northern NV Amendments effective 1/1/26 | Yes
Washoe County | Northern Nevada | IBC | 2006 | 2008-03-10 | Ord. 1355 — passed Dec 11 2007 | No
Washoe County | Northern Nevada | IBC | 2012 | 2013-09-01 | Ord. 1510 — passed May 14 2013 | No
Washoe County | Northern Nevada | IBC | 2018 | 2019-01-01 | Ord. 1625 | No
Washoe County | Northern Nevada | IECC | 2006 | 2008-03-10 | Ord. 1355 | No
Washoe County | Northern Nevada | IECC | 2009 | 2012-07-01 | Ord. 1487 — standalone IECC update Jun 12 2012 | No
Washoe County | Northern Nevada | IECC | 2012 | 2016-07-01 | Ord. 1579 — standalone IECC update May 10 2016 | No
Washoe County | Northern Nevada | IECC | 2018 | 2019-01-01 | Ord. 1625 | No
Washoe County | Northern Nevada | IRC | 2024 | 2026-01-01 | Northern NV Amendments effective 1/1/26 | Yes
Washoe County | Northern Nevada | IRC | 2006 | 2008-03-10 | Ord. 1355 | No
Washoe County | Northern Nevada | IRC | 2012 | 2013-09-01 | Ord. 1510 | No
Washoe County | Northern Nevada | IRC | 2018 | 2019-01-01 | Ord. 1625 | No
Washoe County | Northern Nevada | NEC | 2023 |  | 2023 NEC adopted | Yes
Washoe County | Northern Nevada | NEC | 2005 | 2008-03-10 | Ord. 1355 — 2005 NEC adopted with 2006 I-Code cycle | No
Washoe County | Northern Nevada | NEC | 2011 | 2013-09-01 | Ord. 1510 | No
Washoe County | Northern Nevada | NEC | 2017 | 2019-01-01 | Ord. 1625 | No
Washoe County | Northern Nevada | UMC | 2006 | 2008-03-10 | Ord. 1355 | No
Washoe County | Northern Nevada | UMC | 2012 | 2013-09-01 | Ord. 1510 | No
Washoe County | Northern Nevada | UMC | 2018 | 2019-01-01 | Ord. 1625 | No
Washoe County | Northern Nevada | UPC | 2024 |  | 2024 UMC/UPC adopted | Yes
Washoe County | Northern Nevada | UPC | 2006 | 2008-03-10 | Ord. 1355 | No
Washoe County | Northern Nevada | UPC | 2012 | 2013-09-01 | Ord. 1510 | No
Washoe County | Northern Nevada | UPC | 2018 | 2019-01-01 | Ord. 1625 | No

## Specs & Standards
Jurisdiction | Region | Category | Title | Description | Code Reference | Source URL
City of Henderson | Southern Nevada | Building Structures | Attic Access — Size and Clearance | Required where vertical height ≥ 30 in over at least 30 sq ft. Rough opening minimum 22 in × 30 in. Ceiling access requires 30-in clear headroom above on at least one side. Where mechanical equipment is in attic, access must also comply with UMC Section 304.4. | IRC R807.1 (locally amended) | https://www.clarkcountynv.gov/adobe/assets/urn:aaid:aem:1bb5e7a7-96e5-4940-82c6-d6903f7c5695/original/as/2024-IRC-Southern-NV-Amendments---Clark-County-Amended.pdf
City of Henderson | Southern Nevada | Building Structures | Climatic Design Criteria — Wind & Seismic | Wind speed 98 mph for elevations below 3,900 ft; Seismic Design Category D; frost line 1 ft below 5,000 ft; termite risk Moderate to Heavy. Wind exposure category C unless site-specific justification provided. Above 3,900 ft: defer to IBC. | IRC Table R301.2 (locally amended) | https://www.clarkcountynv.gov/adobe/assets/urn:aaid:aem:1bb5e7a7-96e5-4940-82c6-d6903f7c5695/original/as/2024-IRC-Southern-NV-Amendments---Clark-County-Amended.pdf
City of Henderson | Southern Nevada | Building Structures | Foundation Drainage — Grade Slope Requirements | Grade must slope away at minimum 5% for 10 ft from foundation. Impervious surfaces within 10 ft: minimum 2% slope away. Swales within 10 ft: minimum 1% along flow line. Exception: low expansive/collapsible/soluble soils permit 2% slope. | IRC R401.3 (locally amended) | https://www.clarkcountynv.gov/adobe/assets/urn:aaid:aem:1bb5e7a7-96e5-4940-82c6-d6903f7c5695/original/as/2024-IRC-Southern-NV-Amendments---Clark-County-Amended.pdf
City of Henderson | Southern Nevada | Building Structures | Geotechnical / Soils Investigation Required | All structures must have a geotechnical report per 2024 IBC Chapter 18. Exceptions: single-story structures under 600 sq ft, decks/shade structures/patio covers, and ground-mounted solar systems accessory to 1- or 2-family dwellings (use assumed values: 1,000 psf vertical bearing, 100 psf/ft lateral bearing, 0.25 friction, Exposure Class S2 sulfate). | IRC R401.4 (locally amended) | https://www.clarkcountynv.gov/adobe/assets/urn:aaid:aem:1bb5e7a7-96e5-4940-82c6-d6903f7c5695/original/as/2024-IRC-Southern-NV-Amendments---Clark-County-Amended.pdf
City of Henderson | Southern Nevada | Building Structures | Grading Permit Trigger | Grading permit required when total cut + fill exceeds 100 cubic yards OR site exceeds 1.0 acre. | Henderson Municipal Code Chapter 15.01 | https://library.municode.com/nv/henderson/codes/code_of_ordinances?nodeId=TIT15BUCO
City of Henderson | Southern Nevada | Building Structures | Grading Plan — Registered Design Professional Required | All projects requiring grading must have a grading plan prepared, stamped, and signed by a registered design professional per 2024 IBC Chapter 18 and Appendix J. | IRC R401.5 (locally amended) | https://www.clarkcountynv.gov/adobe/assets/urn:aaid:aem:1bb5e7a7-96e5-4940-82c6-d6903f7c5695/original/as/2024-IRC-Southern-NV-Amendments---Clark-County-Amended.pdf
City of Henderson | Southern Nevada | Building Structures | Live Load Requirements | Sleeping and habitable areas: 40 psf. Garages: 50 psf uniform / 2,000 lb concentrated. Uninhabitable attics without storage: 10 psf; with limited storage: 20 psf. | IRC Table R301.5 (locally amended) | https://www.clarkcountynv.gov/adobe/assets/urn:aaid:aem:1bb5e7a7-96e5-4940-82c6-d6903f7c5695/original/as/2024-IRC-Southern-NV-Amendments---Clark-County-Amended.pdf
City of Henderson | Southern Nevada | Building Structures | Roofing — Wood Shingles and Wood Shakes Prohibited | Wood shingles and wood shakes are prohibited as a roofing material due to fire risk in desert climate. All roofing materials must be Class A fire-rated. | IRC R905.7 / R905.8 (locally amended) | https://www.clarkcountynv.gov/adobe/assets/urn:aaid:aem:1bb5e7a7-96e5-4940-82c6-d6903f7c5695/original/as/2024-IRC-Southern-NV-Amendments---Clark-County-Amended.pdf
City of Henderson | Southern Nevada | Building Structures | Townhouse — Structural Independence | Each townhouse unit must be structurally independent except: shared foundations, structural sheathing fastened to common wall framing, nonstructural coverings, flashing at common wall roof termination, and units separated by common wall per R302.2.2. | IRC R302.2.6 (locally amended) | https://www.clarkcountynv.gov/adobe/assets/urn:aaid:aem:1bb5e7a7-96e5-4940-82c6-d6903f7c5695/original/as/2024-IRC-Southern-NV-Amendments---Clark-County-Amended.pdf
City of Henderson | Southern Nevada | Building Structures | Vapor Retarder Under Slab | Minimum 10-mil polyethylene meeting ASTM E1745 Class A; joints lapped not less than 6 inches. Exceptions: garages, unheated storage under 70 sq ft, driveways/walks/patios. | IRC R506.3.3 (locally amended) | https://www.clarkcountynv.gov/adobe/assets/urn:aaid:aem:1bb5e7a7-96e5-4940-82c6-d6903f7c5695/original/as/2024-IRC-Southern-NV-Amendments---Clark-County-Amended.pdf
City of Henderson | Southern Nevada | Building Exterior Finishes | Exterior Stucco (Three-Coat System) | Three-coat stucco over metal lath or paper-backed lath: scratch coat ≥ 3/8 in, brown coat ≥ 3/8 in, finish coat ≥ 1/8 in. Total minimum thickness 7/8 in (or 3/4 in with self-furring lath). Lath per ASTM C1063. Grade D paper (60-minute) or ASTM E2556 Type II water-resistant barrier required behind stucco. | IRC R703.6 / IBC Section 2512 | https://www.clarkcountynv.gov/adobe/assets/urn:aaid:aem:5333e6bb-1a40-4ef9-ac33-b794ae993445/original/as/2024-IBC-Amendments---CLARK-COUNTY-AMENDED(R1).pdf
City of Henderson | Southern Nevada | Building Exterior Finishes | Weep Screed — Stucco Base | Minimum 26-gauge galvanized corrosion-resistant weep screed with 3.5 in vertical attachment flange. Placed at or below foundation plate line; minimum 4 in above grade and 2 in above paved areas. Pool note: maintain minimum 2 in clearance between cool deck/patio and stucco weep screed. | IRC R703.7.2.1 / IBC Section 2512.1.2 | https://www.clarkcountynv.gov/adobe/assets/urn:aaid:aem:1bb5e7a7-96e5-4940-82c6-d6903f7c5695/original/as/2024-IRC-Southern-NV-Amendments---Clark-County-Amended.pdf
City of Henderson | Southern Nevada | Ventilation & Waterproofing | Air Sealing — Blower Door Test Required | Residential units in Climate Zone 3 must achieve 3.0 ACH50 via third-party blower door test. Alternatives: 4.0 ACH50 non-sprinklered, 4.5 ACH50 sprinklered. Qualifying air barriers include: 1/2 in gypsum board, 5/8 in Portland cement stucco, closed-cell spray foam (1.5 in min), and others per IECC C402.6.2.3.1. | IECC R402 / C402 (Climate Zone 3) | https://www.clarkcountynv.gov/adobe/assets/urn:aaid:aem:201d0e0f-6fbf-4854-aced-1b1a4848e312/original/as/2024-IECC-Code-Amendments---Clark-County.pdf
City of Henderson | Southern Nevada | Ventilation & Waterproofing | Attic Ventilation — Climate Zone 3B (Henderson) | For Climate Zone 3B (Henderson below 4,000 ft elevation): no rigid board or air-impermeable insulation is required for condensation control at the roof plane. This is a relaxation from colder-climate requirements. | IRC Table R806.5 (locally amended) | https://www.clarkcountynv.gov/adobe/assets/urn:aaid:aem:1bb5e7a7-96e5-4940-82c6-d6903f7c5695/original/as/2024-IRC-Southern-NV-Amendments---Clark-County-Amended.pdf
City of Henderson | Southern Nevada | Ventilation & Waterproofing | Foundation Waterproofing — When Required | Required only where geotechnical report indicates high water table or severe soil-water conditions. Where required: from finished grade to top of footing or 6 in below basement floor. Options include two-ply hot-mopped felts, 55 lb roll roofing, 40-mil polymer-modified asphalt, 60-mil flexible polymer cement, 1/8 in cement-based fiber-reinforced coating, or 60-mil solvent-free liquid-applied synthetic rubber. | IRC R406.2 (locally amended) | https://www.clarkcountynv.gov/adobe/assets/urn:aaid:aem:1bb5e7a7-96e5-4940-82c6-d6903f7c5695/original/as/2024-IRC-Southern-NV-Amendments---Clark-County-Amended.pdf
City of Henderson | Southern Nevada | Building Utilities | Carbon Monoxide Alarms — Placement | Required outside each sleeping area and inside sleeping area when fuel-burning appliance is within or accessible only through that sleeping area. | IRC R311.3 (locally amended) | https://www.clarkcountynv.gov/adobe/assets/urn:aaid:aem:1bb5e7a7-96e5-4940-82c6-d6903f7c5695/original/as/2024-IRC-Southern-NV-Amendments---Clark-County-Amended.pdf
City of Henderson | Southern Nevada | Building Utilities | Electrical Service — NEC 2023 with Southern Nevada Amendments | Electrical work governed by 2023 NEC with Southern Nevada Amendments. Standard new residential service is 200-amp minimum. NV Energy Electric Service Requirements (Southern Nevada) govern utility service conductors and meter installation. Pool electrical: minimum #10 wire feeder with 30-amp breaker; timer boxes are NOT permitted as disconnect for pool motors. | 2023 NEC (Clark County Amended) / HMC Chapter 15.28 | https://www.clarkcountynv.gov/adobe/assets/urn:aaid:aem:9f7141aa-c587-49e3-8ecd-ad22f2775a07/original/as/2023-NEC-Amendments---Clark-County.pdf
City of Henderson | Southern Nevada | Building Utilities | Energy Efficiency — Insulation Minimums (Climate Zone 3) | Ceiling: R-38. Wood-framed wall: R-20 or R-13+5ci or 0+15ci. Floor: R-19 or R-13+5ci or 15ci. Unheated slab edge: none required. Vertical fenestration: max U-factor 0.30, max SHGC 0.25. Skylight: max U-factor 0.53, max SHGC 0.28. | IECC 2024 Tables R402.1.2 and R402.1.3 (Climate Zone 3) | https://www.clarkcountynv.gov/adobe/assets/urn:aaid:aem:201d0e0f-6fbf-4854-aced-1b1a4848e312/original/as/2024-IECC-Code-Amendments---Clark-County.pdf
City of Henderson | Southern Nevada | Building Utilities | Fireplace Restrictions — Las Vegas Valley (Below 4,000 ft) | No solid-fuel burning fireplace permitted below 4,000 ft elevation in the Las Vegas Valley Hydrographic Basin unless EPA Phase II certified or a masonry fireplace with gas logs and sealed glass cover. Required sign: "Approved for fuel gas use only." Sleeping-room fireplaces require a permanent 4-in fresh air duct from exterior to firebox. | IRC R1007 / R1008 (locally added via SNBO amendment) | https://www.clarkcountynv.gov/adobe/assets/urn:aaid:aem:1bb5e7a7-96e5-4940-82c6-d6903f7c5695/original/as/2024-IRC-Southern-NV-Amendments---Clark-County-Amended.pdf
City of Henderson | Southern Nevada | Building Utilities | Gas Piping — CSST Bonding Required | Residential gas piping governed by Uniform Fuel Gas Code (part of UPC) and NFPA 54. Corrugated Stainless Steel Tubing (CSST) must be bonded to the electrical service grounding electrode system. | UPC / NFPA 54 | https://www.clarkcountynv.gov/adobe/assets/urn:aaid:aem:ec89671a-c803-4952-adef-ecd6f7310d43/original/as/2024-UPC-Amendments---Clark-County.pdf
City of Henderson | Southern Nevada | Building Utilities | HVAC — ACCA Manual J Design Required | HVAC systems must be designed using ACCA Manual J load calculations based on local climate criteria (Climate Zone 3B, mean annual temp 66.3°F). Duct sealing and insulation required per 2024 IECC; ducts in unconditioned spaces must be insulated. | UMC 2024 with Southern Nevada Amendments / HMC Chapter 15.24 | https://www.clarkcountynv.gov/adobe/assets/urn:aaid:aem:46720f66-bd4b-4cba-823b-7f06929721c7/original/as/2024-UMC-Amendments---Clark-County.pdf
City of Henderson | Southern Nevada | Building Utilities | Plumbing — UPC Governs (IRC Chapters Deleted) | All residential plumbing is governed by the 2024 Uniform Plumbing Code (UPC) with Southern Nevada Amendments. IRC Chapters 25–33 and 24–43 are deleted and replaced by reference to UPC. IRC Section P2904 for residential fire sprinklers is retained. | IRC Amendment (local) / HMC Chapter 15.20 | https://www.clarkcountynv.gov/adobe/assets/urn:aaid:aem:ec89671a-c803-4952-adef-ecd6f7310d43/original/as/2024-UPC-Amendments---Clark-County.pdf
City of Henderson | Southern Nevada | Pools & Spas | LVVWD Pool Size Limit — 600 sq ft Maximum | Maximum combined water surface area of all pools, spas, and water features on a single-family parcel is 600 square feet. LVVWD must approve pool permit before the City of Henderson issues a building permit. | LVVWD Policy / Southern Nevada Water Authority | https://www.lvvwd.com
City of Henderson | Southern Nevada | Pools & Spas | Pool Backwash Water Discharge | Backwash and drain water must discharge to sanitary sewer or approved on-site disposal with air gap; no direct connection to the disposal system is permitted. | ISPSC Section 321.1 (locally amended) | https://www.clarkcountynv.gov/adobe/assets/urn:aaid:aem:00bcfb9b-28f1-4c71-ae9e-346ddbf0a96e/original/as/2024-ISPSC-Amendments---Clark-County(R2).pdf
City of Henderson | Southern Nevada | Pools & Spas | Pool Barrier Height — 60 Inches Minimum | For 1- and 2-family dwellings, pool barrier must be at least 60 inches (5 feet) above grade on the pool-facing outward side, measured at 3 ft horizontal from outside the barrier. Public pools: 72 in minimum. | ISPSC Section 305.2.1 (locally amended) | https://www.clarkcountynv.gov/adobe/assets/urn:aaid:aem:00bcfb9b-28f1-4c71-ae9e-346ddbf0a96e/original/as/2024-ISPSC-Amendments---Clark-County(R2).pdf
City of Henderson | Southern Nevada | Pools & Spas | Pool Gate Latch Height | Self-locking latch on gate exterior at minimum 54 in above grade. Self-latching mechanism on pool side only: at least 3 in below top of gate. | ISPSC Section 305.3.3 (locally amended) | https://www.clarkcountynv.gov/adobe/assets/urn:aaid:aem:00bcfb9b-28f1-4c71-ae9e-346ddbf0a96e/original/as/2024-ISPSC-Amendments---Clark-County(R2).pdf
City of Henderson | Southern Nevada | Pools & Spas | Pool Inspection Sequence (Henderson) | Required inspections in order: 901 Pre-Gunite → 903 Gas Test → 905 Pre-Deck → 908 Spa Only → 910 Pre-Plaster/Final. | Henderson Building and Fire Safety | https://www.cityofhenderson.com/government/departments/building-and-fire-safety/standard-designs/swimming-pools-and-spas
City of Henderson | Southern Nevada | Pools & Spas | Pool Setback from Structure — 60 Inches Minimum | Pool or spa must not be closer than 60 inches (5 feet) to any building or structure and must not encroach into public utility easements. Exception requires a Nevada-licensed Structural or Civil Engineer substantiation. | ISPSC Section 327.2 (locally amended) | https://www.clarkcountynv.gov/adobe/assets/urn:aaid:aem:00bcfb9b-28f1-4c71-ae9e-346ddbf0a96e/original/as/2024-ISPSC-Amendments---Clark-County(R2).pdf
City of Henderson | Southern Nevada | Pools & Spas | Pool Structural Design — Default Parameters | Must conform to Table 307.2.2 standards and be designed per IBC structural requirements. Default design parameters (without site-specific soils report): minimum 60 psf/ft lateral bearing pressure, Exposure Class S2 (severe sulfate). If groundwater present: hydrostatic relief valve required at lowest point. | ISPSC Section 307.2.2 (locally amended) | https://www.clarkcountynv.gov/adobe/assets/urn:aaid:aem:00bcfb9b-28f1-4c71-ae9e-346ddbf0a96e/original/as/2024-ISPSC-Amendments---Clark-County(R2).pdf
City of Henderson | Southern Nevada | Private Site Improvements | ADA Accessibility — Accessible Routes on Private Site | All site improvements on multifamily and non-residential projects must provide accessible routes per ICC A117.1-2017 (adopted by reference through IBC Chapter 11). Accessible route requirements: minimum 44-inch clear width (36 inches where not a primary route), maximum running slope 1:20 (5%), maximum cross-slope 1:48 (2%). Accessible parking spaces: van-accessible spaces minimum 11 ft wide with 5-ft access aisle; standard accessible spaces minimum 8 ft wide with 5-ft access aisle. Curb ramps at all accessible route crossings of curbs: maximum slope 1:12 (8.33%), minimum width 36 inches, detectable warning surface required. Single-family residential is generally exempt from ADA; multifamily with 4+ units must provide accessible units per Fair Housing Act. | IBC 2024 Chapter 11 / ICC A117.1-2017 / ADA Standards for Accessible Design | https://www.clarkcountynv.gov/adobe/assets/urn:aaid:aem:5333e6bb-1a40-4ef9-ac33-b794ae993445/original/as/2024-IBC-Amendments---CLARK-COUNTY-AMENDED(R1).pdf
City of Henderson | Southern Nevada | Private Site Improvements | ADA Accessibility — Pool and Amenity Areas | Swimming pools serving multifamily or common-use facilities must provide at least one accessible means of entry per ADA Standards Section 242: primary entry must be a sloped entry (ramp to water) or pool lift; secondary entry if pool has 300+ linear feet of wall. Spas: at least one accessible entry (pool lift or transfer wall). Accessible route from accessible parking to pool entry required. Recreational facilities (sport courts, playgrounds, clubhouses): must comply with ADA Standards Sections 206–240 for accessible routes, clear floor space, reach ranges, and operable parts. Playground equipment: 50% of elevated play components accessible via ramp or transfer system per ADA Standards Section 240. | ADA Standards for Accessible Design, Sections 240-242 / IBC Chapter 11 | https://www.ada.gov/resources/2010-ada-standards/
City of Henderson | Southern Nevada | Private Site Improvements | Drainage Certification — Required Before Final Inspection | A registered design professional must certify that site conditions at time of final construction provide positive drainage per the approved drainage plan. Must be submitted to and approved by the Building Inspection Department. | Henderson Building Division requirement | https://www.cityofhenderson.com/government/departments/building-and-fire-safety/building-codes
City of Henderson | Southern Nevada | Private Site Improvements | Drainage Study — When Required | A drainage study by a registered Nevada Civil Engineer is required before civil improvement plans can be accepted. Not required for projects under 2 acres outside FEMA Special Flood Hazard Areas that are not adjacent to a CCRFCD facility. | Henderson Development Code Section 19.14.6 | http://gustfront.ccrfcd.org/pdf_arch1/HCDDM/Current%20Manual%20(Complete)/hcddm.pdf
City of Henderson | Southern Nevada | Private Site Improvements | Landscaping — Turf Restrictions (Henderson) | New turf in residential front yards is prohibited. Side and rear yard turf limited to 50% or less of total square footage. No new turf in common areas or medians. Front and street side yards must have desert/drought-tolerant landscaping with in-ground irrigation. | Nevada AB 356 / SNWA / Henderson Development Code Chapter 19.11 | https://www.snwa.com/water-resources/conservation/landscape-regulations/index.html
City of Henderson | Southern Nevada | Private Site Improvements | Masonry Fences and Retaining Walls — Permit Required | Separate building permit required per parcel for fences, walls, and retaining walls. Retaining walls retaining more than 24 inches require engineering by a registered design professional. Footings must be designed by a registered Civil or Structural Engineer for all imposed loads including soil pressure, surcharge, seismic, and hydrostatic forces per IBC Chapter 18. Default design parameters where no soils report: assume 60 psf/ft lateral soil pressure, Exposure Class S2 (severe sulfate exposure) — concrete minimum f'c 4,000 psi for footings in sulfate soils. No fence or wall may block a natural flow path. Prohibited materials: pointed pickets, electrocution components, embedded glass, barbed/razor wire. | IBC 2024 Appendix Q / Henderson Development Code Section 19.10.6 | https://online.encodeplus.com/regs/henderson-nv/doc-viewer.aspx?secid=53
City of Henderson | Southern Nevada | Private Site Improvements | Private Utilities — Water and Sewer Standards | Private water and sewer laterals must conform to UDACS 2025 (water) and DCSWCS 2019 (sewer) with the City of Henderson Addendum. Water hydraulic analysis approval required before civil plan acceptance. | UDACS 2025 / DCSWCS 2019 | https://www.lvvwd.com/assets/pdf/udacs-2025.pdf
City of Henderson | Southern Nevada | Private Site Improvements | Retaining Wall — Footing and Structural Design Requirements | Retaining walls over 24 inches (top of footing to top of wall) require a building permit and engineering by a registered Civil or Structural Engineer. Footing design must account for: lateral soil pressure (minimum 60 psf/ft unless geotechnical report specifies otherwise), surcharge loads, seismic forces (Seismic Design Category D), and hydrostatic pressure where applicable. Concrete minimum compressive strength f'c = 3,000 psi general; f'c = 4,000 psi where soils report indicates Exposure Class S2 (severe sulfate) conditions, which is common in Southern Nevada soils. Footings must extend below frost depth (minimum 12 inches below finish grade in the Las Vegas Valley). Required inspections: footing excavation, reinforcing steel placement, drainage/dampproofing before backfill. | IBC 2024 Appendix Q / IBC Chapter 18 / Henderson Municipal Code Section 15.08 | https://www.clarkcountynv.gov/adobe/assets/urn:aaid:aem:5333e6bb-1a40-4ef9-ac33-b794ae993445/original/as/2024-IBC-Amendments---CLARK-COUNTY-AMENDED(R1).pdf
City of Henderson | Southern Nevada | Public Works Offsite Improvements | ADA Accessibility — Public Sidewalks and Pedestrian Ramps | All public sidewalks and pedestrian facilities in public right-of-way must comply with the ADA Standards for Accessible Design and PROWAG (Public Rights-of-Way Accessibility Guidelines). Pedestrian curb ramps: maximum slope 1:12 (8.33%) in direction of travel, maximum 1:48 (2%) cross-slope, minimum 48-inch clear landing at top, detectable warning surface (truncated domes) 24 inches deep across full width in yellow or contrasting color. Sidewalk cross-slope maximum 2% (1:48). Sidewalk running slope follows roadway grade; where grade exceeds 5%, handrails are required at 8.33% or steeper. Accessible pedestrian signals required at signalized intersections per MUTCD. Developer is responsible for installing compliant curb ramps at all intersections within or adjacent to the subdivision. | ADA Standards for Accessible Design / PROWAG / MUTCD / Henderson Development Code Chapter 19.14 | https://www.access-board.gov/prowag/
City of Henderson | Southern Nevada | Public Works Offsite Improvements | Civil Plan Prerequisites — Henderson | Before civil improvement plans can be accepted: (1) Approved TIA or exemption letter, (2) Approved Technical Hydrology Study or exemption, (3) Water Hydraulic Analysis approval, (4) Geotechnical report (4 copies, sealed, within 1 year), (5) Conditions of Approval from Planning, (6) 60% Design Review completion from Utility Services for backbone water/sewer, (7) Grading permit application submitted to Building Division. | Henderson Civil Improvements Submittal Checklist | https://nvbpels.org/wp-content/uploads/2023/04/Civil-Improvements-Submitt.pdf
City of Henderson | Southern Nevada | Public Works Offsite Improvements | Fire Hydrant Spacing — Residential Areas | Maximum hydrant spacing 600 ft in residential areas. At least one hydrant within 100 ft of subdivision entrance. Hydrants placed at all intersections first, then alternating spacing along streets. | 2024 IFC Southern Nevada Amendments, Appendix C | https://www.snbo.org/wp-content/uploads/2025/02/2024-Fire-Code-Amendments.pdf
City of Henderson | Southern Nevada | Public Works Offsite Improvements | Traffic Impact Analysis — Required Before Civil Plans | A Traffic Impact Analysis (TIA) must be approved before civil improvement plans are accepted. A master street light and traffic control plan is required for phased construction. Henderson Master Transportation Plan governs. NDOT Standards apply to state highway frontages. | Henderson Development Code Chapter 19.14 | https://online.encodeplus.com/regs/henderson-nv/doc-viewer.aspx?secid=53
City of Henderson | Southern Nevada | Public Works Offsite Improvements | Uniform Standard Drawings — RTC (Clark County Area) | All public offsite improvements must conform to the Clark County Area Uniform Standard Drawings for Public Works Construction (published by RTC). Includes H-series (Henderson-specific) and C-series (Clark County) details. Available as PDF and DWG. | Clark County Area Uniform Standard Drawings | https://rtcws.rtcsnv.com/mpo/streets/streets_drawings.html
City of Henderson | Southern Nevada | Public Works Offsite Improvements | Water Main — Public Backbone Minimum Standards | Water main minimum 8-inch diameter for lines feeding multiple hydrants. Dead-end maximum: 150 ft of 6-inch pipe feeding one hydrant. Working pressure minimum 150 psi. Governed by UDACS 2025 + Henderson UDACS Addendum. | UDACS 2025 + Henderson Addendum (effective March 1, 2025) | https://www.lvvwd.com/assets/pdf/udacs-2025.pdf
City of Las Vegas | Southern Nevada | Building Structures | Climatic & Geographic Design Criteria | Las Vegas design values (below 1,600 ft elevation): Ground snow load 5 psf; Design wind speed 98 mph; Seismic Design Category D; Frost line depth 1 ft; Termite: Moderate to Heavy. These SNBO-published values replace the generic IRC table and govern all structural design. | SNBO 2024 IRC Amendment, Table R301.2 | https://www.snbo.org/wp-content/uploads/2025/05/2024-IRC-Amendments-Final-2025-03-10.pdf
City of Las Vegas | Southern Nevada | Building Structures | Floor Live Loads | Sleeping room floor live load is set at 40 psf per SNBO local amendment (footnote: actual live load governs when known to exceed table values). All other residential floor live loads per 2024 IRC Table R301.5. | SNBO 2024 IRC Amendment, Table R301.5 | https://www.snbo.org/wp-content/uploads/2025/05/2024-IRC-Amendments-Final-2025-03-10.pdf
City of Las Vegas | Southern Nevada | Building Structures | Foundation Drainage | Section R401.3 is locally amended for desert conditions. Drainage must slope away from foundations. The SNBO amendment modifies the base IRC requirement to address local soil and drainage conditions. | SNBO 2024 IRC Amendment §R401.3 | https://www.snbo.org/wp-content/uploads/2025/05/2024-IRC-Amendments-Final-2025-03-10.pdf
City of Las Vegas | Southern Nevada | Building Structures | Foundation Requirements & Soils Report | Plans must show all footings, posts, bearing walls, slabs, stem walls, anchor bolts, hold-downs, reinforcement size/depth, and material specs. A soils report is required for all new structures with a footprint of 600 sq ft or greater. | CLV Residential Submittal Requirements §1.3.B; IRC R401.4 | https://files.lasvegasnevada.gov/building-safety/Residential-Submittal-Requirements.pdf
City of Las Vegas | Southern Nevada | Building Structures | Framing Plans & Lateral Force Resisting System | Framing plans must show trusses, joists, beams, headers, bearing walls, and all framing hardware. Lateral force resisting system must document shear walls, drag struts, collectors, diaphragm, nailing schedule, and hold-downs. A complete load path must be demonstrated from point of load to all resisting elements. | CLV Residential Submittal Requirements §1.3.C; 2024 IRC Chapter 6 | https://files.lasvegasnevada.gov/building-safety/Residential-Submittal-Requirements.pdf
City of Las Vegas | Southern Nevada | Building Structures | Special Inspections (QAA Program) | Special inspections are required per the CLV Quality Assurance and Approval (QAA) procedures. QAA1 through QAA9 procedures govern reporting, non-compliance, revisions, final reports, structural observation, and epoxy anchor inspections. | CLV QAA Special Inspection Program; IBC Chapter 17 | https://files.lasvegasnevada.gov/building-safety/Forms/General/QAA1-Special-Inspection-Procedures.pdf
City of Las Vegas | Southern Nevada | Building Structures | Truss Submittals | Truss design and shop drawings must be prepared, stamped, and signed by a Nevada-licensed engineer and submitted prior to permit issuance (or via deferred submittal). The truss fabricator must appear on the Clark County approved fabricators list. The Engineer of Record must confirm truss calculations comply with design intent. | CLV Residential Submittal Requirements §1.3.C; IRC R802 | https://files.lasvegasnevada.gov/building-safety/Forms/General/Truss-Submittal-Guideline.pdf
City of Las Vegas | Southern Nevada | Building Exterior Finishes | AC Drainage Swale at Stucco Weep Screed | A 2-inch clearance must be maintained between the cool deck and stucco weep screed. Standard Detail G-100 governs AC drainage swale bypass details at buildings. | SNBO Standard Detail G-100 | https://files.lasvegasnevada.gov/building-safety/G-100.pdf
City of Las Vegas | Southern Nevada | Building Exterior Finishes | Masonry Fence Standard Detail | Masonry fences must be constructed per SNBO Regional Standard Detail B-100-1. Fences with wrought iron must follow B-101. Wrought iron fences follow B-114. Chain link fences follow B-115. Walls shown on civil plans are for grading review only — a separate building permit is required. | CLV General Notes §16; SNBO B-100-1 | https://files.lasvegasnevada.gov/building-safety/B-100-1.pdf
City of Las Vegas | Southern Nevada | Building Exterior Finishes | Wall Coverings & Stucco | Exterior wall coverings must specify components, thickness, and material on elevation drawings. One-coat stucco systems require an approved applicator — owner/builders cannot apply one-coat stucco systems. Roofing must be specified by type, manufacturer name, and product name. | CLV Residential Submittal Requirements §1.5 | https://files.lasvegasnevada.gov/building-safety/Residential-Submittal-Requirements.pdf
City of Las Vegas | Southern Nevada | Ventilation & Waterproofing | Attic Ventilation | Attic ventilation location, size, and calculations must be shown on plans. Table R806.5 is amended for Southern Nevada desert conditions, reducing minimum ventilation ratios compared to base IRC to account for the dry climate. | SNBO 2024 IRC Amendment, Table R806.5; R806 | https://www.snbo.org/wp-content/uploads/2025/05/2024-IRC-Amendments-Final-2025-03-10.pdf
City of Las Vegas | Southern Nevada | Ventilation & Waterproofing | Flat/Low-Slope Roofing | IRC Sections R905.7 (built-up roofing) and R905.8 (modified bitumen) are amended for local desert climate conditions addressing high UV exposure and extreme heat. | SNBO 2024 IRC Amendment §R905.7, §R905.8 | https://www.snbo.org/wp-content/uploads/2025/05/2024-IRC-Amendments-Final-2025-03-10.pdf
City of Las Vegas | Southern Nevada | Ventilation & Waterproofing | Foundation Waterproofing & Dampproofing | Section R406.2 (foundation waterproofing and dampproofing) is specifically amended for Southern Nevada conditions. When basements are installed, plans must show a cross-section with materials, exterior waterproofing, and egress window well details. | SNBO 2024 IRC Amendment §R406.2; IRC R406 | https://www.snbo.org/wp-content/uploads/2025/05/2024-IRC-Amendments-Final-2025-03-10.pdf
City of Las Vegas | Southern Nevada | Building Utilities | Electrical — Service & Load Calculations | For new structures, plans must show service load calculations, all outlets, lights, and smoke detectors. An auto-calculate residential electrical load calculation form (May 2026 version) is published by CLV. 2023 NEC is in effect as of January 5, 2026. | CLV Residential Submittal Requirements §1.7; 2023 NEC | https://files.lasvegasnevada.gov/building-safety/Forms/Residential/Residential-Electrical-Load-Calculations-Auto-Calculate-form-May-2026.pdf
City of Las Vegas | Southern Nevada | Building Utilities | Gas Piping Under Slabs | Gas piping installed underground beneath buildings is extensively amended. All gas lines under slabs and foundations must be sleeved per UPC §1210.1.6. Three standard details govern installation: P-102, P-103, and P-104. LP gas procedures follow P-101. | SNBO 2024 UPC §1210.1.6 as amended; CLV Standard Details P-101 through P-104 | https://files.lasvegasnevada.gov/building-safety/P-102.pdf
City of Las Vegas | Southern Nevada | Building Utilities | HVAC Plan Requirements | Plans must show heating/cooling unit capacity and location. Duct work type and insulation must be specified. Exhaust fans, dryer vent location, and attic/roof-mounted equipment support details are required. Access and platform must be detailed when roof pitch exceeds 4:12. Duct area detector tests are required. | CLV Residential Submittal Requirements §1.8; 2024 UMC | https://files.lasvegasnevada.gov/building-safety/Residential-Submittal-Requirements.pdf
City of Las Vegas | Southern Nevada | Building Utilities | NEC Key Local Amendments — Grounding | Grounding electrode system is extensively amended for desert soil conditions. Rod/pipe electrodes must be driven to 8 feet depth; if rock prevents this, the electrode must be buried in a trench at least 2.5 feet deep. Abandoned conductors must be removed from all structures — not left in place. | SNBO 2023 NEC Amendments §250.50, §250.52, §250.53; §110.12(D) | https://www.snbo.org/wp-content/uploads/2025/05/2023-NEC-Amendments-Final-2025-03-27.pdf
City of Las Vegas | Southern Nevada | Building Utilities | Plumbing Plan Requirements | Plans must show location, size, and material of all water and DWV piping. Fixture types shown by symbol with water supply fixture unit count and required meter size per UPC Table 610.4. Gas piping requires BTU/h demands, pipe lengths, and materials. Water heater location, type, and combustion air requirements must be shown. | CLV Residential Submittal Requirements §1.9; 2024 UPC | https://files.lasvegasnevada.gov/building-safety/Residential-Submittal-Requirements.pdf
City of Las Vegas | Southern Nevada | Building Utilities | Water Heaters | Water heater strapping must follow Standard Detail P-105. A Tankless Water Heater Guideline is separately published. Location, type, size, and combustion air requirements must be shown on plans. | CLV Standard Detail P-105; 2024 UPC | https://files.lasvegasnevada.gov/building-safety/P-105.pdf
City of Las Vegas | Southern Nevada | Pools & Spas | Decorative Water Features | Any manmade decorative water feature greater than 18 inches of maximum water depth must meet full swimming pool requirements. Features 18 inches or under on single-family residential property for exclusive family use are exempt. | SNBO 2024 ISPSC Amendment, Chapter 2 Definitions | https://www.snbo.org/wp-content/uploads/2025/05/2024-ISPSC-Amendments-Final-2025-05-08.pdf
City of Las Vegas | Southern Nevada | Pools & Spas | Pool Finish Color Requirement | Pool finishes must be at least 6.5 on the Munsell gray scale. Exceptions include competitive lane markings, diving well floors, step/bench edge markings, and waterline tiles. | SNBO 2024 ISPSC Amendment §307.1.2.1 | https://www.snbo.org/wp-content/uploads/2025/05/2024-ISPSC-Amendments-Final-2025-05-08.pdf
City of Las Vegas | Southern Nevada | Pools & Spas | Pool Safety Barriers | For one- and two-family dwellings, barrier top must be at least 60 inches above grade (measured away from pool). For public pools: 72 inches minimum. Gate latch release for residential pools must be at least 54 inches above grade. Self-latching latches must be on the pool side at least 3 inches below gate top. | SNBO 2024 ISPSC Amendment §305.2.1, §305.3.3 | https://www.snbo.org/wp-content/uploads/2025/05/2024-ISPSC-Amendments-Final-2025-05-08.pdf
City of Las Vegas | Southern Nevada | Pools & Spas | Pool Size Limit — LVVWD 600 SF Cap | The Las Vegas Valley Water District limits the total combined water surface area of new swimming pools, spas, and water features on a single-family residential parcel to a maximum of 600 square feet. LVVWD must approve all pool/spa permits prior to CLV permit issuance. | LVVWD Service Rules; 2024 ISPSC | https://files.lasvegasnevada.gov/building-safety/Forms/General/Pool-Spa-Application.pdf
City of Las Vegas | Southern Nevada | Pools & Spas | Pool Structural & Soils Requirements | Two options for soils: (A) designer certifies worst-case conditions (min. lateral bearing 60 psf/ft, Exposure Class S2 severe sulfate); or (B) site-specific soils report. An excavation-only permit is available, but no pool permit is issued until soils report is received. | SNBO 2024 ISPSC Amendment §307.2.2 | https://files.lasvegasnevada.gov/building-safety/Forms/General/Pool-Guideline.pdf
City of Las Vegas | Southern Nevada | Private Site Improvements | Drainage Study Requirements | A Technical Drainage Study must be conditionally approved before submitting improvement plans. Minimum finish floor elevation is 6 inches above the highest adjacent top of curb. Minimum road slope is 0.4%; where this cannot be met, an 18-inch minimum storm drain must be provided. | CLV Minimum Drainage Study Criteria (Standard Form 2 Supplement, revised 5/7/26); LVMC 14.18.130 | https://files.lasvegasnevada.gov/public-works/Checklist_Minimum_Drainage_Study_Criteria-May-2026.pdf
City of Las Vegas | Southern Nevada | Private Site Improvements | Flatwork & Pavement Standards | Off-site concrete: Type V cement required, minimum 3,000 PSI @ 28 days, mix designs approved by City prior to use. AC pavement must be 1/2 inch above lip of all gutters after compaction. Asphalt mix design must be submitted and approved by City Engineer prior to placement in City ROW. | CLV General Notes §5, §8, §17 (Jan 2026) | https://files.lasvegasnevada.gov/building-safety/Forms/Land-Development/CLV_Notes_Jan-2026.pdf
City of Las Vegas | Southern Nevada | Private Site Improvements | Masonry Retaining Walls | Retaining walls must follow SNBO Regional Standard Detail B-100-2. Wall heights may not exceed 14 feet above adjacent property in any case. Walls shown on civil plans are for grading review only — a separate building permit and building department inspection is required for all walls. | CLV General Notes §16; SNBO B-100-2 | https://files.lasvegasnevada.gov/building-safety/B-100-2.pdf
City of Las Vegas | Southern Nevada | Private Site Improvements | On-Site Sewer Laterals | Each townhome lot must have an individual sewer lateral to its mapped lot. Sewer laterals shall not be located under residential driveways unless no alternative; if unavoidable, a traffic-rated cleanout per SD-24 must be installed outside ROW. PVC pipe: ASTM D-3034 SDR 35 with sand bedding. | CLV General Notes — Sewer Notes (Jan 2026); CLV DCSWCS Addendum §2.3.10 | https://files.lasvegasnevada.gov/building-safety/Forms/Land-Development/CLV_Notes_Jan-2026.pdf
City of Las Vegas | Southern Nevada | Private Site Improvements | SWPPP & Stormwater Requirements | Contractor must remove all sediment, mud, and debris from public ROW daily. Temporary or permanent stabilization must be installed within 14 days after construction ceases. Inspect all disturbed areas weekly and within 24 hours after any rain event of 0.5 inches or more. Post-Construction BMPs are mandatory permanent regulatory controls. | CLV General Notes — Stormwater Notes (Jan 2026); Nevada General Permit NVR100000; LVMC 14.18.130 | https://files.lasvegasnevada.gov/building-safety/SWPPP-Checklist.pdf
City of Las Vegas | Southern Nevada | Private Site Improvements | Underground Utilities | Underground utilities are required by default. A waiver may be requested for non-underground utilities. Contractor must provide written documentation certifying all locating devices are placed and verified before road base construction. CLV does not use marker balls or pipe locator ribbon — uses open-trench utility survey inspection. | CLV General Notes §20–21 (Jan 2026) | https://files.lasvegasnevada.gov/building-safety/Request-for-Waiver-for-Non-Underground-Utilities.pdf
City of Las Vegas | Southern Nevada | Public Works Offsite Improvements | CCTV Video Inspection — Sewer & Storm Drain | CCTV video inspection is required for all sewer and storm drains prior to acceptance. Videos must be performed per the Design and Construction Standards for Wastewater Collection Systems, latest edition. | CLV General Notes §22 (Jan 2026) | https://files.lasvegasnevada.gov/building-safety/Sewer-Storm-Drain-Videos.pdf
City of Las Vegas | Southern Nevada | Public Works Offsite Improvements | Fire Hydrants & Access | A Civil Fire Flow Information Block must be included on all civil plans. Civil General Notes for Hydrants and Access must be referenced on all improvement plans. | CLV Civil General Notes for Hydrants and Access | https://files.lasvegasnevada.gov/building-safety/Civil-General-Notes-Hydrants-Access.pdf
City of Las Vegas | Southern Nevada | Public Works Offsite Improvements | Governing Standards for Offsite Construction | All public offsite construction must comply with the Uniform Standard Specifications (USS) and Uniform Standard Drawings (USD) for Public Works Construction, Clark County Area Nevada. CLV Special Provisions and CLV General Notes (Jan 2026) supplement these standards and must appear on all civil improvement plans. | CLV General Notes §1 (Jan 2026) | https://files.lasvegasnevada.gov/building-safety/Forms/Land-Development/CLV_Notes_Jan-2026.pdf
City of Las Vegas | Southern Nevada | Public Works Offsite Improvements | Mass Grading Guidelines | CLV publishes specific Mass Grading Guidelines governing large-scale grading operations for subdivision development. All revisions to approved grading plans require prior written approval of the City Engineer. | CLV Mass Grading Guidelines; CLV General Notes §4 | https://files.lasvegasnevada.gov/building-safety/Mass-Grading-Guidelines.pdf
City of Las Vegas | Southern Nevada | Public Works Offsite Improvements | Public Sewer Main Standards | Public sewer mains located 5 feet from street centerline where possible; not closer than 8 ft from back of curb with sidewalk, 10 ft without. Minimum pipe: 6-inch for multi-family/commercial. Capacity: d/D = 0.50 max for 8-15 inch pipe. No HDPE allowed. C900 DR-25 preferred. No public pumping stations permitted in Las Vegas. | CLV DCSWCS Addendum (2019, 4th Ed., revised 02/24/2025) §2.3.2, §2.3.20, §3.7 | https://files.lasvegasnevada.gov/public-works/CLV-DCSWCS-and-CCWRD-AML-Addendum.pdf
City of Las Vegas | Southern Nevada | Public Works Offsite Improvements | Sewer Connection Requirement | New development must connect to public sewer whenever available within 400 feet of the nearest property line and reachable by gravity. For subdivisions with 5+ single-family units, connection required when sewer is within (units × 100 ft). As of January 1, 2021, LVVWD will refuse potable water service to new development discharging to a septic tank. | NAC 444.786; NAC 278.460; LVVWD Service Rules Chapter 4 §4.5(e); LVMC 14.04.120 | https://files.lasvegasnevada.gov/public-works/CLV-DCSWCS-and-CCWRD-AML-Addendum.pdf
City of Las Vegas | Southern Nevada | Public Works Offsite Improvements | Street Lights | New streetlight services: 200 AMP padmount, capacity for 20 or 24 circuits. All luminaires must be LED from CLV-approved fixture list. Empty conduit requires one green #8 AWG tracer wire. Luminaires adjacent to residential housing must have manufacturer-provided house-side shields. | CLV General Notes — Street Light Notes (Jan 2026); USS §623 | https://files.lasvegasnevada.gov/building-safety/Approved-Roadway-Luminaire-Fixtures.pdf
City of Las Vegas | Southern Nevada | Public Works Offsite Improvements | Traffic Signals | All traffic signal work requires an IMSA Level II Certified Technician on site. Approved controllers: Swarco McCain Flex or Econolite Cobalt with D4 software. All vehicle and pedestrian signal indications must be LED. Pedestrian push buttons: Audible tactile Polara iNavigator type, mounted 42 inches above sidewalk. Work within 300 feet of a signalized intersection must be performed at night. | CLV General Notes — Traffic Signal Notes (Jan 2026) | https://files.lasvegasnevada.gov/building-safety/Forms/Land-Development/CLV_Notes_Jan-2026.pdf
City of Las Vegas | Southern Nevada | Transportation Authority Requirements | Traffic Control During Construction | All permanent traffic control devices must be in place before opening any portion of road to public traffic. All permanent signs must use Type XI retroreflective sheeting per CCAUSS §627 and §716 with anti-graffiti overlay film. | CLV General Notes — Traffic Notes (Jan 2026); MUTCD latest edition | https://files.lasvegasnevada.gov/building-safety/Forms/Land-Development/CLV_Notes_Jan-2026.pdf
City of North Las Vegas | Southern Nevada | Building Structures | Adopted Codes — Same SNBO Amendments as Henderson | City of North Las Vegas uses the same 2024 IBC, IRC, UPC, UMC, NEC, IECC, and ISPSC with Southern Nevada (SNBO) amendments as Henderson. All technical building requirements in Categories 1–5 are identical. Effective date: January 11, 2026. See Henderson entries for full technical details. | NLV Municipal Code Chapter 15.72 / NLV Current Adopted Codes | https://www.cityofnorthlasvegas.com/business/development-services/current-adopted-codes-and-ordinances
City of North Las Vegas | Southern Nevada | Building Structures | Mandatory Residential Fire Sprinklers — All New Single-Family | All new single-family home permits issued on or after January 5, 2026 require an automatic residential fire sprinkler system. Technical standard: IRC Section P2904 / NFPA 13D. Both Henderson (since 2011) and NLV (since Jan 5, 2026) now require sprinklers for all new residential construction. | NLV Municipal Code Section 15.72.010(B) | https://www.cityofnorthlasvegas.com/business/development-services/building-safety
City of North Las Vegas | Southern Nevada | Private Site Improvements | Drainage Study and Certification — Same as Henderson | Drainage study by registered Nevada Civil Engineer required before civil plan acceptance. Not required for projects under 2 acres outside FEMA Special Flood Hazard Areas not adjacent to CCRFCD facility. Drainage waiver available for qualifying small projects. Drainage compliance certification required before final inspection. | NLV Municipal Code Title 16 Chapter 16.20 | https://www.cityofnorthlasvegas.com/business/development-services/development-and-flood-control/flood-control-and-drainage
City of North Las Vegas | Southern Nevada | Private Site Improvements | Fence and Wall Heights — NLV Zoning Standards | Maximum fence/wall height in rear and side yards: 8 feet. Front yard: no fence or wall exceeding 48 inches (4 feet). Front yard fence above 36 inches must be minimum 25% open (decorative transparency requirement). Retaining walls over 24 in require building permit and engineering. | NLV Municipal Code Chapter 17.24.070 | https://library.municode.com/nv/north_las_vegas/codes/code_of_ordinances?nodeId=TIT17ZOOR_CH17.24DEST
City of North Las Vegas | Southern Nevada | Private Site Improvements | Landscaping — Two Trees Required Per Lot (NLV) | Each residential lot must have minimum two trees planted between sidewalk and front of house at time of construction, sized 24-inch box (minimum 1.5-inch caliper at 6 in above root ball). In-ground irrigation system required for front and street side yards. Front and corner side yards must have oasis, desert, or drought-tolerant landscaping with minimum 1.5 five-gallon shrubs per 50 sq ft. | NLV Municipal Code Chapter 17.24.060 | https://library.municode.com/nv/north_las_vegas/codes/code_of_ordinances?nodeId=TIT17ZOOR_CH17.24DEST
City of North Las Vegas | Southern Nevada | Private Site Improvements | Private Utilities — UDACS 2025 / DCSWCS 2019 (NLV) | Same UDACS 2025 (water) and DCSWCS 2019 (sewer) standards apply, with NLV-specific Addendums. NV Energy Electric Service Requirements (Southern Nevada) govern dry utilities. | UDACS 2025 + NLV Addendum / DCSWCS 2019 + NLV Addendum | https://www.cityofnorthlasvegas.com/business/development-services/commercial-utility-service/utility-service-codes-and-guidelines
City of North Las Vegas | Southern Nevada | Private Site Improvements | Turf Restrictions — SNWA (NLV) | Same SNWA turf restrictions apply as Henderson. No new turf in front yards. Same AB 356 nonfunctional grass law applies. HOA common area and non-residential nonfunctional grass removal deadline: December 31, 2026. | Nevada AB 356 / SNWA | https://www.snwa.com/water-resources/conservation/landscape-regulations/index.html
City of North Las Vegas | Southern Nevada | Public Works Offsite Improvements | Civil Plan Compliance Requirements (NLV) | Civil plans must comply with: NLV Municipal Code Titles 16 and 17, Clark County Area Standard Drawings (with NLV supplement), NLV Master Plan of Streets and Highways, UDACS 2025 + NLV Addendum, DCSWCS 2019 + NLV Addendum, Water Service Rules, and NLV-specific development standards. Traffic Impact Analysis required or exemption letter from City Traffic Engineer. | NLV Civil Improvement Plan Review | https://www.cityofnorthlasvegas.com/business/development-services/civil-improvement-plans
City of North Las Vegas | Southern Nevada | Public Works Offsite Improvements | Clark County Area Standard Drawings — N-Series (NLV) | All public offsite improvements must conform to Clark County Area Uniform Standard Drawings (RTC). Includes N-series drawings specific to North Las Vegas. Same fire hydrant spacing (600 ft max residential) and streetlight standards as Henderson apply. | NLV Municipal Code Title 16 Chapter 16.24 | https://rtcws.rtcsnv.com/mpo/streets/streets_drawings.html
City of North Las Vegas | Southern Nevada | Public Works Offsite Improvements | LVVWD Pool Size Limit — 600 sq ft (NLV) | Same Las Vegas Valley Water District (LVVWD) limit applies in NLV: maximum 600 sq ft combined pool/spa/water feature surface area per single-family parcel. LVVWD must approve pool permit before NLV issues building permit. | LVVWD Policy | https://www.lvvwd.com
City of North Las Vegas | Southern Nevada | Public Works Offsite Improvements | Subdivision Improvements — Title 16 Chapter 16.24 (NLV) | Required improvements include: fire hydrants, sidewalks, curbs, gutters, pavement, aggregate base, streetlights, street name signs, traffic signals, pavement markings, traffic control devices, survey monuments, sewers, utilities, flood control and drainage facilities. All per Clark County Area Standard Drawings and NLV development standards. | NLV Municipal Code Chapter 16.24 | https://library.municode.com/nv/north_las_vegas/codes/code_of_ordinances/388847?nodeId=TIT16DECO_CH16.24IM

## Permit Requirements
Jurisdiction | Region | Requirement | Description | Notes
City of Henderson | Southern Nevada | Drainage Compliance Report | Required prior to scheduling final building inspection. Completed by registered design professional. Must certify that site conditions provide positive drainage per approved drainage plan or plot/grading plan. | Submit to and obtain approval from Henderson Building Inspection Department
City of Henderson | Southern Nevada | Finish Floor Elevation Certificate | Must be completed by a Nevada-registered Land Surveyor or Civil Engineer after slab is poured, before additional inspections. Must use City of Henderson benchmarks (2004 Benchmark Book) and NAVD88 datum. Full elevation required. Tolerance: -0.0 ft to +0.3 ft from approved plans. | Henderson Building Division
City of Henderson | Southern Nevada | Pool Inspection Sequence | Pool permits require inspections in order: 901 Pre-Gunite → 903 Gas Test → 905 Pre-Deck → 908 Spa Only → 910 Pre-Plaster/Final. All must pass before certificate of completion issued for pool. | Henderson Building and Fire Safety
City of Henderson | Southern Nevada | Public Improvement Bond | Improvement agreement and bond required for all public offsite improvements prior to final map recording. | Henderson Public Works / Engineering Division
City of Henderson | Southern Nevada | Residential Fire Sprinklers — Operational Test | Residential fire sprinkler system (required for all new single-family dwellings per Henderson Ordinance 2885, effective July 5, 2011, IRC Section P2904) must be operational and tested before final inspection. | Henderson Ordinance 2885 / IRC P2904
City of Las Vegas | Southern Nevada | Affidavit for Roof Sheathing | Required at final inspection for all residential projects confirming roof sheathing installation complies with approved plans. | 2026 version required
City of Las Vegas | Southern Nevada | CCTV Video Inspection | CCTV video inspection required for all sewer and storm drains prior to acceptance by the City. | Videos submitted per CLV televising submittal procedures
City of Las Vegas | Southern Nevada | Certificate of Occupancy | C of O process governed by CLV Industry Notice for Residential Projects. All trade finals (building, electrical, mechanical, plumbing) must be approved before C of O is issued. | See CLV Industry Notice — C of O For Residential Projects
City of Las Vegas | Southern Nevada | Drainage Compliance Report | A signed Drainage Compliance Report must be submitted confirming site drainage was constructed per the approved drainage study. | Submit to Building & Safety
City of Las Vegas | Southern Nevada | Finished Floor Elevation Certificate | Engineer of record must seal, sign, and date a certificate confirming the lowest habitable finished floor elevation matches approved plans. Submit to building inspector and email to certs@lasvegasnevada.gov. One certificate per address. | Required for all new residential construction
City of Las Vegas | Southern Nevada | Pad Certification | A Pad Certification is required prior to final inspection confirming pad elevations match approved grading plans. | Required before framing inspection in most cases
City of North Las Vegas | Southern Nevada | Drainage Compliance Certification | Same standard as Henderson. Registered design professional must certify positive drainage per approved drainage plan before final inspection. | NLV Municipal Code Title 16
City of North Las Vegas | Southern Nevada | Fees, Sureties, and Agreements (Public Improvements) | Improvement bonds and agreements required for public offsite improvements before final map recording. | https://www.cityofnorthlasvegas.com/business/development-services/development-and-flood-control/fees-sureties-and-agreements
City of North Las Vegas | Southern Nevada | Finish Floor Elevation Certificate | NV-registered Land Surveyor or Civil Engineer must certify lowest habitable finished floor elevation after slab inspection. Must match approved plan elevation. Tolerance: -0.0 ft / +0.3 ft. Must be submitted to and accepted by building official before any additional inspections. | NLV Municipal Code Chapter 15.72
City of North Las Vegas | Southern Nevada | Residential Fire Sprinkler — Operational Before Final | Fire sprinkler system (mandatory for all new single-family permits on or after January 5, 2026) must be operational and tested before final inspection. | NLV Municipal Code Section 15.72.010(B) / IRC P2904
Clark County | Southern Nevada | Drainage Certification | Engineer-stamped letter certifying that site drainage is complete per approved grading plan. | Must be submitted to building dept prior to final.
Clark County | Southern Nevada | Final Inspection | Required before certificate of occupancy is issued. All trades must have final approval. | Building, electrical, mechanical, plumbing all required.
Clark County | Southern Nevada | Finish Floor Certification | Survey confirming finished floor elevation matches approved plans. | Required in flood zone areas.
Clark County | Southern Nevada | Landscaping Inspection | Verification that landscaping meets Clark County water-efficient landscaping ordinance. | Required for residential permits over certain square footage.

## Source Documents
Jurisdiction | Region | Title | Description | URL
City of Henderson | Southern Nevada | 2023 NEC Southern Nevada Amendments | Electrical code amendments including pool electrical requirements | https://www.clarkcountynv.gov/adobe/assets/urn:aaid:aem:9f7141aa-c587-49e3-8ecd-ad22f2775a07/original/as/2023-NEC-Amendments---Clark-County.pdf
City of Henderson | Southern Nevada | 2024 IBC Southern Nevada Amendments (Clark County Amended) | IBC amendments including structural, fire/life safety, and geotechnical sections (105 pages) | https://www.clarkcountynv.gov/adobe/assets/urn:aaid:aem:5333e6bb-1a40-4ef9-ac33-b794ae993445/original/as/2024-IBC-Amendments---CLARK-COUNTY-AMENDED(R1).pdf
City of Henderson | Southern Nevada | 2024 IECC Southern Nevada Amendments | Energy code amendments for Climate Zone 3B including insulation minimums, fenestration U-factors, SHGC, and air leakage requirements | https://www.clarkcountynv.gov/adobe/assets/urn:aaid:aem:201d0e0f-6fbf-4854-aced-1b1a4848e312/original/as/2024-IECC-Code-Amendments---Clark-County.pdf
City of Henderson | Southern Nevada | 2024 IFC Southern Nevada Amendments (SNBO) | Fire code amendments including Appendix C fire hydrant spacing requirements | https://www.snbo.org/wp-content/uploads/2025/02/2024-Fire-Code-Amendments.pdf
City of Henderson | Southern Nevada | 2024 IRC Southern Nevada Amendments (Clark County Amended) | Complete IRC amendments including Table R301.2 climatic criteria, foundation, grading, roofing, and all residential provisions | https://www.clarkcountynv.gov/adobe/assets/urn:aaid:aem:1bb5e7a7-96e5-4940-82c6-d6903f7c5695/original/as/2024-IRC-Southern-NV-Amendments---Clark-County-Amended.pdf
City of Henderson | Southern Nevada | 2024 ISPSC Southern Nevada Amendments | Pool and spa code amendments including barrier height, setbacks, structural design, and water surface limits | https://www.clarkcountynv.gov/adobe/assets/urn:aaid:aem:00bcfb9b-28f1-4c71-ae9e-346ddbf0a96e/original/as/2024-ISPSC-Amendments---Clark-County(R2).pdf
City of Henderson | Southern Nevada | 2024 UMC Southern Nevada Amendments | Uniform Mechanical Code amendments including HVAC and attic equipment access requirements | https://www.clarkcountynv.gov/adobe/assets/urn:aaid:aem:46720f66-bd4b-4cba-823b-7f06929721c7/original/as/2024-UMC-Amendments---Clark-County.pdf
City of Henderson | Southern Nevada | 2024 UPC Southern Nevada Amendments | Uniform Plumbing Code amendments (plumbing code governs, IRC plumbing chapters deleted) | https://www.clarkcountynv.gov/adobe/assets/urn:aaid:aem:ec89671a-c803-4952-adef-ecd6f7310d43/original/as/2024-UPC-Amendments---Clark-County.pdf
City of Henderson | Southern Nevada | CCRFCD Hydrology Manual | Clark County Regional Flood Control District Hydrologic Criteria and Drainage Design Manual | http://gustfront.ccrfcd.org/pdf_arch1/HCDDM/Current%20Manual%20(Complete)/hcddm.pdf
City of Henderson | Southern Nevada | Clark County Area Uniform Standard Drawings (RTC) | H-series and C-series standard drawings for all public works construction in Henderson and Clark County area | https://rtcws.rtcsnv.com/mpo/streets/streets_drawings.html
City of Henderson | Southern Nevada | Henderson Building Codes Page | Henderson official building codes portal including history of adopted codes and standard designs | https://www.cityofhenderson.com/government/departments/building-and-fire-safety/building-codes
City of Henderson | Southern Nevada | Henderson Civil Improvements Submittal Checklist | Complete prerequisites checklist for civil plan acceptance including TIA, hydrology, geotech, and utility approvals | https://nvbpels.org/wp-content/uploads/2023/04/Civil-Improvements-Submitt.pdf
City of Henderson | Southern Nevada | Henderson Standard Designs (All Categories) | Wall construction details, pool/spa details, electrical, and other standard designs for 2024 codes | https://www.cityofhenderson.com/business/development-services-center/standard-designs
City of Henderson | Southern Nevada | Henderson Utility Services Codes and Standards | Henderson water and sewer utility codes, standards, and guidelines | https://www.cityofhenderson.com/government/departments/utility-services/development/utility-services-codes-standards-guidelines
City of Henderson | Southern Nevada | NV Energy Electric Service Requirements (Southern Nevada) | Utility service conductors and meter installation standards for Southern Nevada | https://www.nvenergy.com/publish/content/dam/nvenergy/brochures_arch/account-services/building-and-new-construction/electric-service-standards-south/ESR-MASTER-EDITION.pdf
City of Henderson | Southern Nevada | UDACS 2025 — Uniform Design and Construction Standards (Water) | Potable water system design and construction standards; includes Henderson Addendum effective March 1, 2025 | https://www.lvvwd.com/assets/pdf/udacs-2025.pdf
City of Las Vegas | Southern Nevada | CLV DCSWCS Sewer Addendum | City of Las Vegas addendum to the Design and Construction Standards for Wastewater Collection Systems, revised February 24, 2025. | https://files.lasvegasnevada.gov/public-works/CLV-DCSWCS-and-CCWRD-AML-Addendum.pdf
City of Las Vegas | Southern Nevada | CLV General Notes — January 2026 | Primary governing document for all public offsite construction covering grading, paving, sewer, stormwater, street lights, and traffic. | https://files.lasvegasnevada.gov/building-safety/Forms/Land-Development/CLV_Notes_Jan-2026.pdf
City of Las Vegas | Southern Nevada | CLV Mass Grading Guidelines | Guidelines governing large-scale grading operations for subdivision development. | https://files.lasvegasnevada.gov/building-safety/Mass-Grading-Guidelines.pdf
City of Las Vegas | Southern Nevada | CLV Minimum Drainage Study Criteria | Checklist and criteria for Technical Drainage Studies required before civil plan submittal, including finish floor elevation rules. | https://files.lasvegasnevada.gov/public-works/Checklist_Minimum_Drainage_Study_Criteria-May-2026.pdf
City of Las Vegas | Southern Nevada | CLV Pool/Spa Application & Guideline | Complete pool and spa permit application and construction guideline including structural, mechanical, electrical, and barrier requirements. | https://files.lasvegasnevada.gov/building-safety/Forms/General/Pool-Guideline.pdf
City of Las Vegas | Southern Nevada | CLV Residential Submittal Requirements | Complete plan submittal requirements for all residential projects including structural, mechanical, plumbing, and electrical. | https://files.lasvegasnevada.gov/building-safety/Residential-Submittal-Requirements.pdf
City of Las Vegas | Southern Nevada | SNBO 2023 NEC Amendments | Southern Nevada Building Officials local amendments to the 2023 National Electrical Code, effective January 5, 2026. | https://www.snbo.org/wp-content/uploads/2025/05/2023-NEC-Amendments-Final-2025-03-27.pdf
City of Las Vegas | Southern Nevada | SNBO 2024 IBC Amendments | Southern Nevada Building Officials local amendments to the 2024 International Building Code. | https://sawebfilesprod001.blob.core.windows.net/building-safety/2025/2024-IBC-Amendments.pdf
City of Las Vegas | Southern Nevada | SNBO 2024 IRC Amendments | Southern Nevada Building Officials local amendments to the 2024 International Residential Code, effective January 5-11, 2026. | https://www.snbo.org/wp-content/uploads/2025/05/2024-IRC-Amendments-Final-2025-03-10.pdf
City of Las Vegas | Southern Nevada | SNBO 2024 ISPSC Amendments | Southern Nevada Building Officials local amendments to the 2024 International Swimming Pool and Spa Code. | https://www.snbo.org/wp-content/uploads/2025/05/2024-ISPSC-Amendments-Final-2025-05-08.pdf
City of Las Vegas | Southern Nevada | SNBO 2024 UPC Amendments | Southern Nevada Building Officials local amendments to the 2024 Uniform Plumbing Code. | https://www.snbo.org/wp-content/uploads/2025/05/2024-UPC-Amendments-Final-2025-04-07.pdf
City of Las Vegas | Southern Nevada | SNBO Regional Standard Details | Complete library of SNBO standard construction details (B-series, P-series, G-series, etc.) adopted by all Southern Nevada AHJs. | https://snbo.org/regional-standard-details/
City of North Las Vegas | Southern Nevada | 2024 IRC Southern Nevada Amendments (Clark County) | Same IRC amendments apply to NLV as Henderson | https://www.clarkcountynv.gov/adobe/assets/urn:aaid:aem:1bb5e7a7-96e5-4940-82c6-d6903f7c5695/original/as/2024-IRC-Southern-NV-Amendments---Clark-County-Amended.pdf
City of North Las Vegas | Southern Nevada | Clark County Area Standard Drawings (RTC) | N-series and C-series standard drawings for all public works construction in NLV area | https://rtcws.rtcsnv.com/mpo/streets/streets_drawings.html
City of North Las Vegas | Southern Nevada | NLV Building Safety | Building safety, permit, and inspection information for North Las Vegas | https://www.cityofnorthlasvegas.com/business/development-services/building-safety
City of North Las Vegas | Southern Nevada | NLV Civil Improvement Plan Review | Civil improvement plan review process, checklist, and requirements | https://www.cityofnorthlasvegas.com/business/development-services/civil-improvement-plans
City of North Las Vegas | Southern Nevada | NLV Current Adopted Codes Page | Official list of all currently adopted codes and ordinances for North Las Vegas | https://www.cityofnorthlasvegas.com/business/development-services/current-adopted-codes-and-ordinances
City of North Las Vegas | Southern Nevada | NLV Fees, Sureties, and Agreements | Public improvement fees, bonds, and agreements for NLV subdivisions | https://www.cityofnorthlasvegas.com/business/development-services/development-and-flood-control/fees-sureties-and-agreements
City of North Las Vegas | Southern Nevada | NLV Flood Control and Drainage | Flood control, drainage, and CCRFCD requirements for North Las Vegas | https://www.cityofnorthlasvegas.com/business/development-services/development-and-flood-control/flood-control-and-drainage
City of North Las Vegas | Southern Nevada | NLV Municode Title 15 (Buildings) | North Las Vegas building and construction code (Chapter 15.72 administrative code) | https://library.municode.com/nv/north_las_vegas/codes/code_of_ordinances?nodeId=TIT15BUCO
City of North Las Vegas | Southern Nevada | NLV Municode Title 16 (Subdivisions/Development) | Subdivision design standards, improvement requirements, and development code | https://library.municode.com/nv/north_las_vegas/codes/code_of_ordinances?nodeId=TIT16DECO
City of North Las Vegas | Southern Nevada | NLV Municode Title 17 (Zoning) | Zoning ordinance including residential standards, landscaping, fences/walls, and setbacks | https://library.municode.com/nv/north_las_vegas/codes/code_of_ordinances?nodeId=TIT17ZOOR_CH17.24DEST
City of North Las Vegas | Southern Nevada | NLV Utility Codes and Guidelines | Water and sewer utility codes, standards, and guidelines for North Las Vegas | https://www.cityofnorthlasvegas.com/business/development-services/commercial-utility-service/utility-service-codes-and-guidelines
City of North Las Vegas | Southern Nevada | UDACS 2025 — Potable Water Standards | Water system design and construction standards (with NLV Addendum) | https://www.lvvwd.com/assets/pdf/udacs-2025.pdf